## Slide 1: Minimally Invasive Monocusp Valve
By: Tyler Adam Martinez, Mason Forshage, and Adrian Rodriguez

## Slide 2: The Initial Valve

## Slide 3: Current Design

## Slide 4: Materials
Outer Ring: Kevlar Fabric/ Nitinol Stent
Inner Ring: Pure Pyrolytic Carbon
Spine: Pure Pyrolytic Carbon over Titanium Wire
Disc: Pure Pyrolytic Carbon Ribs with Kevlar Fabric Membrane*

## Slide 5: Implantation
Transcatheter Aortic Valve Replacement
Minimally Invasive
FDA approved for “low risk patients”

## Slide 6: Mechanics of the Valve and the Forces affecting the Valve
Left ventricle is relaxed:
(P Phase)
Left ventricle contracts:
(QRS Phase)
Pressure/Backflow
L
W
W
L
Pressure/Blood flow
θ
θ
Left ventricle begins to relax:
(T Phase)
θ
Pressure/Backflow
W

## Slide 7: Without the upper lip...
Reverse flow/Pressure

## Slide 8: Fluid Mechanics of the Valve
Strong blood flow
Weak blood flow
Reverse flow
Leakage flow

## Slide 9: Hall Effect and Sensor
Notes: The image of right is a screenshot from a digital oscilloscope of the simulated[1] signal from the hall sensor used for proof of concept.
[1] The simulated signal was produced by attaching a magnet to a servo motor and programming the motor to actuate the magnet the exact way that the magnet would move inside the valve, and placing the sensor in front of the valve, like where the sensor would go.

## Slide 10: The MATlab simulation

## Slide 11: Design Justification
Notes: Sensor provides real time feedback to the patient and the patient’s doctor.
The simplicity of the design. Means it’s less likely to fail.
The sensor we used to measure the hall effect:
https://www.sparkfun.com/products/9312
The material we are using is resistant to erision:
https://www.sciencedirect.com/science/article/pii/B9781845692452500263

## Slide 12: Design Limitations
Monocusp Design may Hinder Laminar Flow
Included Magnet may Disrupt Pacemakers
Unforeseen Flaws without Testing

## Slide 13: Github & Questions?
Notes: Github:
https://github.com/TylerFonzie8507/Minimally-Invasive-Monocusp-Valve
References:
[1] https://www.mayoclinic.org/diseases-conditions/aortic-valve-disease/symptoms-causes/syc-20355117
[2] https://www.heart-valve-surgery.com/heart-surgery-blog/2008/03/24/pig-heart-valve-how-long-do-they-last/
[3] https://cardiothoracicsurgery.biomedcentral.com/articles/10.1186/s13019-019-0956-1
[4] https://www.ncbi.nlm.nih.gov/pmc/articles/PMC4810599/
[5] https://www.ncbi.nlm.nih.gov/pmc/articles/PMC4881630/
[6] http://www.molbio.upol.cz/stranky/vyuka/OSE2/2011/Mixa.pdf
[7] https://www.acc.org/latest-in-cardiology/articles/2019/08/16/13/49/fda-expands-tavr-indication-to-low-risk-patients
[8] https://www.ncbi.nlm.nih.gov/pmc/articles/PMC1768554/
[9] https://www.researchgate.net/profile/Robert_More/publication/292306650_Pyrolytic_Carbon/links/5ce399aa92851c4eabb174c0/Pyrolytic-Carbon.pdf
[10] https://patentimages.storage.googleapis.com/8d/c4/b7/7ac6ef0bd7ea0e/US9603698.pdf
[11] https://www.ncbi.nlm.nih.gov/pmc/articles/PMC2752693/